## MAIN
| D8022 |  |  |  | D8027 | D8030 | D8033 | D8036 | D51
D8021 | D8023 |  |  |  | D8028 |  | D8034 | D8037 | D52
| D8024 |  |  |  | D8029 |  | D8035 | D8038
D8009 |  |  |  |  | D31 | D32 | D33 | D34
D8010/D8011 | D5/D4 | D8012 (Doble)/D8014 (Doble)
D8016 (Doble) | 종료시간 | 추후검토 |  |  | D16 | D17 | D56 | D57 | D58
I0001 | PC SET | I1011 | I1012 |  |  |  | 쓰기주소 : O2분석기에서 읽어들여 PLC로 전송
I0025 |  |  |  |  | D8048.1 | Y318 - D8048.1로 정의되어 있음.
I0027 |  |  |  |  | D8048.8 | Y325 - D8048.8로 정의되어 있음
I0029 |  |  |  | 중복 | D8048.9 | Y326 - D8048.9로 정의되어 있음
I0017 |  |  |  |  | D8048.10 | 미정의됨. 재검토
I0021 |  |  |  |  | D8048.10 | Y327 - D8048.10로 정의되어 있음
I1011 |  |  |  |  | D8045.0
오토튜닝은 제어신호의 상태를 출력 (I2011/I2012) ?? 재검토 |  |  |  |  | D8045.1
D8048.1 |  |  |  |  | D8045.2
D8045.3
D8045.9
D8045.4
D8045.5
I0099 |  |  |  |  | D8045.6
D8045.7
D8045.8

## PARAMETER
란은 읽기항목 (설정불가)
| D9031 | D9081 | D9131 | D9181
| D9032 | D9082 | D9132 | D9182
| D9034 | D9084 | D9134 | D9184
| D9035 | D9085 | D9135 | D9185
| D9036 | D9086 | D9136 | D9186
| D10183 | D10283 | D10383 | D10483
| D10184 | D10284 | D10384 | D10484 |  |  | 없음
| D10186 | D10286 | D10386 | D10486
| D10187 | D10287 | D10387 | D10487
| D10188 | D10288 | D10388 | D10488
내부온도 #1 ~ #4 RH, RL…. 에대한 어드레스 할당 검토.
| D9002 | D9020
| D9009 | D9021
| D9019 | D9022
| D9001 | D9025
| D9003 | D9023
| D9004 | D9024
D9005
D9006
D9007
D9008
| D9052 | D9070
| D9059 | D9071
| D9069 | D9072
| D9051 | D9075
| D9053 | D9073
| D9054 | D9074
D9055
D9056
D9057
D9058
| D9102 | D9120
| D9109 | D9121
| D9119 | D9122
| D9101 | D9125
| D9103 | D9123
| D9104 | D9124
D9105
D9106
D9107
D9108
| D9152 | D9170
| D9159 | D9171
| D9169 | D9172
| D9151 | D9175
| D9153 | D9173
| D9154 | D9174
D9155
D9156
D9157
D9158
| D10114 | D10141
| D10121 | D10142
| D10134 | D10143
| D10113 | D10146
| D10115 | D10144
| D10116 | D10145
D10117
D10118
D10119
D10120
| D10214 | D10241
| D10221 | D10242
| D10234 | D10243
| D10213 | D10246
| D10215 | D10244
| D10216 | D10245
D10217
D10218
D10219
D10220
| D10314 | D10341
| D10321 | D10342
| D10334 | D10343
| D10313 | D10346
| D10315 | D10344
| D10316 | D10345
D10317
D10318
D10319
D10320
| D10414 | D10441
| D10421 | D10442
| D10434 | D10443
| D10413 | D10446
| D10415 | D10444
| D10416 | D10445
D10417
D10418
D10419
D10420
| D10514 | D10541
| D10521 | D10542
| D10534 | D10543
| D10513 | D10546
| D10515 | D10544
| D10516 | D10545
D10517
D10518
D10519
D10520
| D10614 | D10641
| D10621 | D10642
| D10634 | D10643
| D10613 | D10646
| D10615 | D10644
| D10616 | D10645
D10617
D10618
D10619
D10620
| D10714 | D10741
| D10721 | D10742
| D10734 | D10743
| D10713 | D10746
| D10715 | D10744
| D10716 | D10745
D10717
D10718
D10719
D10720
| D10814 | D10841
| D10821 | D10842
| D10834 | D10843
| D10813 | D10846
| D10815 | D10844
| D10816 | D10845
D10817
D10818
D10819
D10820
D8021
D8022
| ON | I2011
| OFF | I2012
삭제
D501 | D601 | D401 | D519 | D619 | D419 | D551 | D651 | D451 | D567 | D667
D502 | D602 | D402 | D520 | D620 |  | D552 | D652 | D452 | D568 | D668
D503 | D603 | D403 | D522 | D622 | D422 | D553 | D653 | D453 | D569 | D669
D504 | D604 |  | D523 | D623 |  | D554 | D654 | D454 | D570 | D670
D506 | D606 | D406 | D525 | D625 | D425 | D555 | D655 | D455 | D571 | D671
D507 | D607 |  | D526 | D626 |  | D556 | D656 | D456 | D572 | D672
D509 | D609 | D409 | D527 | D627 | D427 | D558 | D658 | D458 | D573 | D673
D510 | D610 |  | D528 | D628 |  | D559 | D659 | D459 | D574 | D674
D512 | D612 | D412 | D529 | D629 | D429 | D560 | D660 | D460 | D575 | D675
D513 | D613 | D413 | D530 | D630 |  | D561 | D661 | D461 | D576 | D676
D514 | D614 |  | D531 | D631 | D431 | D562 | D662 | D462
D516 | D616 | D416 | D532 | D632 |  | D564 | D664 | D464
D517 | D617 |  | D534 | D634 | D434 | D566 | D666 | D466
수동운전
|  | D41 |  | I0309
|  | D42 |  | I0310
|  | D43 |  | I0311
|  | D44 |  | I0312
|  | D52 |  | I0313
I0325
|  | D46 |  | I0326
|  | D47 |  | I0327
I0301
I0302
I0303
I0304

## PATTERN
D2401 |  | D2402 |  | D2406 |  | D2411
|  | D2403 |  | D2407
|  | D2404 |  | D2408
|  | D2405 |  | D2412
SEG1~15 |  |  |  |  | SEG16~30
D2011 | D2021 | ~ | D2141 | D2151 | D2161 | D2171 | ~ | D2291 | D2301
D2012 | D2022 | ~ | D2142 | D2152 | D2162 | D2172 | ~ | D2292 | D2302
D2013 | D2023 | ~ | D2143 | D2153 | D2163 | D2173 | ~ | D2293 | D2303
D2014 | D2024 | ~ | D2144 | D2154 | D2164 | D2174 | ~ | D2294 | D2304
MFC??? |  | ~ |  |  |  |  | ~
D2019 | D2029 | ~ | D2149 | D2159 | D2169 | D2179 | ~ | D2299 | D2309
세그시간 1.23 일 경우 1시간 23분이므로 분으로 환산해 PLC로 83 전송
| 디폴트 | SEG1 | SEG2 |  | SEG29 | SEG30
TS1 | OFF | D2017.0 | D2027.0 |  | D2297.0 | D2307.0
TS2 | ON | D2017.1 | D2027.1 |  | D2297.1 | D2307.1
TS3 | OFF | D2017.2 | D2027.2 |  | D2297.2 | D2307.2
TS4 | OFF | D2017.3 | D2027.3 | ~ | D2297.3 | D2307.3
TS5 | ON | D2017.4 | D2027.4 |  | D2297.4 | D2307.4
TS6 | OFF | D2017.5 | D2027.5 |  | D2297.5 | D2307.5
TS7 | OFF | D2017.6 | D2027.6 |  | D2297.6 | D2307.6
TS8 (추가) | OFF | D2017.7 | D2027.7 |  | D2297.7 | D2307.7

## AL_IO_MANU
I4101 = 알파벳 I + 4101 의미
I4101 = 레벨1 & I4201 = 레벨2
I4101&I4201 | I4119&I4219 | I4151&I4251 | I4167&I4267
I4102&I4202 | I4120&I4220 | I4152&I4252 | I4167&I4268
I4103&I4203 | I4122&I4222 | I4153&I4253 | I4167&I4269
I4104&I4204 | I4123&I4223 | I4154&I4254 | I4170&I4270
I4106&I4206 | I4125&I4225 | I4155&I4255 | I4170&I4271
I4107&I4207 | I4126&I4226 | I4156&I4256 | I4170&I4272
I4109&I4209 | I4127&I4227 | I4158&I4258 | I4170&I4273
I4110&I4210 | I4128&I4228 | I4159&I4259 | I4170&I4274
I4112&I4212 | I4129&I4229 | I4160&I4260 | I4170&I4275
I4113&I4213 | I4130&I4230 | I4161&I4261 | I4170&I4276
I4114&I4214 | I4131&I4231 | I4162&I4262
I4116&I4216 | I4132&I4232 | I4164&I4264
I4117&I4217 | I4134&I4234 | I4166&I4266
D8043.0 | D8045.0 | D8047.0 | D8049.0
~ | ~ | ~ | ~
D8043.15 | D8045.15 | D8047.15 | D8049.15
D8044.0 | D8046.0 | D8048.0 | D8050.0
~ | ~ | ~ | ~
D8044.15 | D8046.15 | D8048.15 | D8050.15

## PLC_D_COMMENT
D00001 | PTNO
D00002 | SEG.NO
D00003 | USE.SEG.NO
D00004 | SEG.TIME
D00006 | RUN.TIME
D00008 | Total.Run.Time.Sec
D00011 | TEMP.PV
D00012 | TEMP.SV
D00013 | TEMP.MV
D00016 | Chamber.OT.PV
D00017 | Heater.OT.PV
D00021 | DP.Chamber.PV
D00022 | DP.Filter.PV
D00023 | Motor.Chamber.PV
D00024 | Cooling.Chamber.PV
D00026 | DP.Chamber.SV
D00027 | DP.Chamber.MV
D00028 | DP.Chamber.MOUT
D00031 | 내부 온도_1.PV
D00032 | 내부 온도_2.PV
D00033 | 내부 온도_3.PV
D00034 | 내부 온도_4.PV
D00041 | TEMP.FIX.SV
D00042 | DP-C.FIX.SV
D00043 | MT-C.FIX.SV
D00044 | COOL-C.FIX.SV
D00046 | TEMP.FIX.SPR.UP
D00047 | TEMP.FIX.SPR.DN
D00051 | MFC_PV
D00052 | MFC_SV
D00053 | MFC.COMM.Error
D00056 | O2.Analyzer.TEMP.PV
D00057 | O2.Analyzer.EMF.PV
D00058 | O2.Analyzer.ppm.PV
D00059 | O2.Analyzer.COMM.Error
D00061 | REMAIN.TIME
D00066 | HOLD.TIME
D00071 | AT.TEMP
D00079 | SET.PTNO
D00081 | SEG_1.DP-C.MOUT.VAL
D00082 | SEG_1.DP-C.MOUT.Time
D00091 | Door.Open.Condition
D00095 | Graph.Save.Flag
D00099 | OPER.MODE
D00101 | TEMP.TSV
D00102 | DP-C.TSV
D00103 | MT-C.TSV
D00104 | COOL-C.TSV
D00107 | SEG.TS.ON/OFF
D00108 | Last.Use.TS.Word
D00110 | SEG.TIME.MIN
D00113 | RUN.TIME.SEC
D00114 | (long)
D00115 | RUN.SEC.TIMER
D00116 | RUN.MIN.TIMER
D00117
D00118 | HOLD.TIME.MIN
D00120 | HOLD.TIME.SEC
D00131 | TS.WAIT.SEC_1
D00132 | (long)
D00133 | TS.ON.SEC_1
D00134 | (long)
D00135 | TS.WAIT.SEC_2
D00136 | (long)
D00137 | TS.ON.SEC_2
D00138 | (long)
D00139 | TS.WAIT.SEC_3
D00140 | (long)
D00141 | TS.ON.SEC_3
D00142 | (long)
D00143 | TS.WAIT.SEC_4
D00144 | (long)
D00145 | TS.ON.SEC_4
D00146 | (long)
D00147 | TS.WAIT.SEC_5
D00148 | (long)
D00149 | TS.ON.SEC_5
D00150 | (long)
D00151 | TS.WAIT.SEC_6
D00152 | (long)
D00153 | TS.ON.SEC_6
D00154 | (long)
D00155 | TS.WAIT.SEC_7
D00156 | (long)
D00157 | TS.ON.SEC_7
D00158 | (long)
D00159 | TS.WAIT.SEC_8
D00160 | (long)
D00161 | TS.ON.SEC_8
D00162 | (long)
D00163 | TS.WAIT.SEC_9
D00164 | (long)
D00165 | TS.ON.SEC_9
D00166 | (long)
D00167 | TS.WAIT.SEC_10
D00168 | (long)
D00169 | TS.ON.SEC_10
D00170 | (long)
D00171 | TS.Run.SEC_1
D00172 | (long)
D00173 | TS.Run.SEC_2
D00174 | (long)
D00175 | TS.Run.SEC_3
D00176 | (long)
D00177 | TS.Run.SEC_4
D00178 | (long)
D00179 | TS.Run.SEC_5
D00180 | (long)
D00181 | TS.Run.SEC_6
D00182 | (long)
D00183 | TS.Run.SEC_7
D00184 | (long)
D00185 | TS.Run.SEC_8
D00186 | (long)
D00187 | TS.Run.SEC_9
D00188 | (long)
D00189 | TS.Run.SEC_10
D00190 | (long)
D00201 | REAL.SEG1
D00202 | REAL.SEG2
D00203 | REAL.SEG3
D00204 | REAL.SEG4
D00205 | REAL.SEG5
D00206 | REAL.SEG6
D00207 | REAL.SEG7
D00208 | REAL.SEG8
D00209 | REAL.SEG9
D00210 | REAL.SEG10
D00211 | REAL.SEG11
D00212 | REAL.SEG12
D00213 | REAL.SEG13
D00214 | REAL.SEG14
D00215 | REAL.SEG15
D00216 | REAL.SEG16
D00217 | REAL.SEG17
D00218 | REAL.SEG18
D00219 | REAL.SEG19
D00220 | REAL.SEG20
D00221 | REAL.SEG21
D00222 | REAL.SEG22
D00223 | REAL.SEG23
D00224 | REAL.SEG24
D00225 | REAL.SEG25
D00226 | REAL.SEG26
D00227 | REAL.SEG27
D00228 | REAL.SEG28
D00229 | REAL.SEG29
D00230 | REAL.SEG30
D00291 | UP.DOWN.TEMP
D00401 | ALM.VAL.TEMP.ABS_H
D00402 | ALM.VAL.TEMP.DEV_HLO_1
D00403 | ALM.VAL.TEMP.DEV_HLO_2
D00404 | ALM.VAL.TEMP.BOUT
D00405 | 0
D00406 | ALM.VAL.Chamber-OT.ABS_H
D00407 | ALM.VAL.Chamber-OT.BOUT
D00408 | 0
D00409 | ALM.VAL.Heater-OT.ABS_H
D00410 | ALM.VAL.Heater-OT.BOUT
D00411 | 0
D00412 | ALM.VAL.DP-C.ABS_H
D00413 | ALM.VAL.DP-C.DEV_HLO
D00414 | ALM.VAL.DP-C.BOUT
D00415 | 0
D00416 | ALM.VAL.DP-F.ABS_H
D00417 | ALM.VAL.DP-F.BOUT
D00418 | 0
D00419 | ALM.VAL.MT-C.DEV_HLO
D00420 | ALM.VAL.MT-C.BOUT
D00421 | 0
D00422 | ALM.VAL.COOL-C.DEV_HLO
D00423 | ALM.VAL.COOL-C.BOUT
D00424 | 0
D00425 | ALM.VAL.In-TEMP_1.ABS_H
D00426 | ALM.VAL.In-TEMP_1.BOUT
D00427 | ALM.VAL.In-TEMP_2.ABS_H
D00428 | ALM.VAL.In-TEMP_2.BOUT
D00429 | ALM.VAL.In-TEMP_3.ABS_H
D00430 | ALM.VAL.In-TEMP_3.BOUT
D00431 | ALM.VAL.In-TEMP_4.ABS_H
D00432 | ALM.VAL.In-TEMP_4.BOUT
D00433 | 0
D00434 | ALM.VAL.MFC.DEV_HLO
D00501 | ALM.LVL.TEMP.ABS_H
D00502 | ALM.LVL.TEMP.DEV_HLO_1
D00503 | ALM.LVL.TEMP.DEV_HLO_2
D00504 | ALM.LVL.TEMP.BOUT
D00505 | 0
D00506 | ALM.LVL.Chamber-OT.ABS_H
D00507 | ALM.LVL.Chamber-OT.BOUT
D00508 | 0
D00509 | ALM.LVL.Heater-OT.ABS_H
D00510 | ALM.LVL.Heater-OT.BOUT
D00511 | 0
D00512 | ALM.LVL.DP-C.ABS_H
D00513 | ALM.LVL.DP-C.DEV_HLO
D00514 | ALM.LVL.DP-C.BOUT
D00515 | 0
D00516 | ALM.LVL.DP-F.ABS_H
D00517 | ALM.LVL.DP-F.BOUT
D00518 | 0
D00519 | ALM.LVL.MT-C.DEV_HLO
D00520 | ALM.LVL.MT-C.BOUT
D00521 | 0
D00522 | ALM.LVL.COOL-C.DEV_HLO
D00523 | ALM.LVL.COOL-C.BOUT
D00524 | 0
D00525 | ALM.LVL.In-TEMP_1.ABS_H
D00526 | ALM.LVL.In-TEMP_1.BOUT
D00527 | ALM.LVL.In-TEMP_2.ABS_H
D00528 | ALM.LVL.In-TEMP_2.BOUT
D00529 | ALM.LVL.In-TEMP_3.ABS_H
D00530 | ALM.LVL.In-TEMP_3.BOUT
D00531 | ALM.LVL.In-TEMP_4.ABS_H
D00532 | ALM.LVL.In-TEMP_4.BOUT
D00534 | ALM.LVL.MFC.DEV_HLO
D00551 | ALM.LVL.Emergency S/W On Alarm
D00552 | ALM.LVL.Main Heater EOCR Alarm
D00553 | ALM.LVL.Chamber Blow MT EOCR ALM
D00554 | ALM.LVL.Cooling Blow MT EOCR ALM
D00555 | ALM.LVL.Chamber Blow INV Alarm
D00556 | ALM.LVL.Cooling Blow INV Alarm
D00558 | ALM.LVL..Door Lock Alarm
D00559 | ALM.LVL..Door Unlock Alarm
D00560 | ALM.LVL..Door Open(RUN) Alarm
D00561 | ALM.LVL..Door Open Timeout Alarm
D00562 | ALM.LVL..Door Close T-Out Alarm
D00564 | ALM.LVL.Run 불가 상태에 시도 Alm
D00566 | ALM.LVL.RS485 COMM Alarm
D00567 | ALM.LVL.Air Pressure Low
D00568 | ALM.LVL.N2 Pressure Low
D00569 | ALM.LVL.Cooling Pressure Low
D00570 | ALM.LVL.SSR Bi-metal Alarm
D00571 | ALM.LVL.Exhaust Sensor Alarm
D00572 | ALM.LVL.Leak Sensor #1 Alarm
D00573 | ALM.LVL.Leak Sensor #2 Alarm
D00574 | ALM.LVL.Door Area Sensor Alarm
D00575 | ALM.LVL.Smoke Alarm
D00576 | ALM.LVL.Chamber PG Time Over
D00601 | ALM.TMR.TEMP.ABS_H
D00602 | ALM.TMR.TEMP.DEV_HLO_1
D00603 | ALM.TMR.TEMP.DEV_HLO_2
D00604 | ALM.TMR.TEMP.BOUT
D00606 | ALM.TMR.Chamber-OT.ABS_H
D00607 | ALM.TMR.Chamber-OT.BOUT
D00609 | ALM.TMR.Heater-OT.ABS_H
D00610 | ALM.TMR.Heater-OT.BOUT
D00612 | ALM.TMR.DP-C.ABS_H
D00613 | ALM.TMR.DP-C.DEV_HLO
D00614 | ALM.TMR.DP-C.BOUT
D00616 | ALM.TMR.DP-F.ABS_H
D00617 | ALM.TMR.DP-F.BOUT
D00619 | ALM.TMR.MT-C.DEV_HLO
D00620 | ALM.TMR.MT-C.BOUT
D00622 | ALM.TMR.COOL-C.DEV_HLO
D00623 | ALM.TMR.COOL-C.BOUT
D00625 | ALM.TMR.In-TEMP_1.ABS_H
D00626 | ALM.TMR.In-TEMP_1.BOUT
D00627 | ALM.TMR.In-TEMP_2.ABS_H
D00628 | ALM.TMR.In-TEMP_2.BOUT
D00629 | ALM.TMR.In-TEMP_3.ABS_H
D00630 | ALM.TMR.In-TEMP_3.BOUT
D00631 | ALM.TMR.In-TEMP_4.ABS_H
D00632 | ALM.TMR.In-TEMP_4.BOUT
D00634 | ALM.TMR.MFC.DEV_HLO
D00651 | ALM.TMR.Emergency S/W On Alarm
D00652 | ALM.TMR.Main Heater EOCR Alarm
D00653 | ALM.TMR.Chamber Blow MT EOCR ALM
D00654 | ALM.TMR.Cooling Blow MT EOCR ALM
D00655 | ALM.TMR.Chamber Blow INV Alarm
D00656 | ALM.TMR.Cooling Blow INV Alarm
D00658 | ALM.TMR.Door Lock Alarm
D00659 | ALM.TMR.Door Unlock Alarm
D00660 | ALM.TMR.Door Open(운전 중) Alarm
D00661 | ALM.TMR.Door Open Timeout Alarm
D00662 | ALM.TMR.Door Close Timeout Alarm
D00664 | ALM.TMR.Run 불가 상태에 시도 Alm
D00666 | ALM.TMR.RS485 COMM Alarm
D00667 | ALM.TMR.Air Pressure Low
D00668 | ALM.TMR.N2 Pressure Low
D00669 | ALM.TMR.Cooling Pressure Low
D00670 | ALM.TMR.SSR Bi-metal Alarm
D00671 | ALM.TMR.Exhaust Sensor Alarm
D00672 | ALM.TMR.Leak Sensor #1 Alarm
D00673 | ALM.TMR.Leak Sensor #2 Alarm
D00674 | ALM.TMR.Door Area Sensor Alarm
D00675 | ALM.TMR.Smoke Alarm
D00676 | ALM.TMR.Chamber PG Time Over
D00699 | ALM.TMR.Alarm.ReCheck
D00701 | ALM.CAL.TEMP.DEV_HLO_1_H
D00702 | ALM.CAL.TEMP.DEV_HLO_1_L
D00704 | ALM.CAL.TEMP.DEV_HLO_2_H
D00705 | ALM.CAL.TEMP.DEV_HLO_2_L
D00711 | ALM.CAL.DP-C.DEV_HLO_H
D00712 | ALM.CAL.DP-C.DEV_HLO_L
D00714 | ALM.CAL.MT-C.DEV_HLO_H
D00715 | ALM.CAL.MT-C.DEV_HLO_L
D00717 | ALM.CAL.COOL-C.DEV_HLO_H
D00718 | ALM.CAL.COOL-C.DEV_HLO_L
D00731 | ALM.CAL.MFC.DEV_HLO_H
D00732 | ALM.CAL.MFC.DEV_HLO_L
D00993
D02001 | SEG.ACTION.NO
D02002 | Used Dummy
D02009 | SEG.ACTION.TIME
D02011 | SEG.TEMP.1
D02012 | SEG.DP-C.1
D02013 | SEG.MT-C.1
D02014 | SEG.COOL-C.1
D02017 | SEG.TS.ON.1
D02019 | SEG.TIME.1
D02020 | SEG.TIME.MIN.1
D02021 | SEG.TEMP.2
D02022 | SEG.DP-C.2
D02023 | SEG.MT-C.2
D02024 | SEG.COOL-C.2
D02029 | SEG.TIME.2
D02030 | SEG.TIME.MIN.2
D02031 | SEG.TEMP.3
D02032 | SEG.DP-C.3
D02033 | SEG.MT-C.3
D02034 | SEG.COOL-C.3
D02039 | SEG.TIME.3
D02040 | SEG.TIME.MIN.3
D02041 | SEG.TEMP.4
D02042 | SEG.DP-C.4
D02043 | SEG.MT-C.4
D02044 | SEG.COOL-C.4
D02049 | SEG.TIME.4
D02050 | SEG.TIME.MIN.4
D02051 | SEG.TEMP.5
D02052 | SEG.DP-C.5
D02053 | SEG.MT-C.5
D02054 | SEG.COOL-C.5
D02059 | SEG.TIME.5
D02060 | SEG.TIME.MIN.5
D02061 | SEG.TEMP.6
D02062 | SEG.DP-C.6
D02063 | SEG.MT-C.6
D02064 | SEG.COOL-C.6
D02069 | SEG.TIME.6
D02070 | SEG.TIME.MIN.6
D02071 | SEG.TEMP.7
D02072 | SEG.DP-C.7
D02073 | SEG.MT-C.7
D02074 | SEG.COOL-C.7
D02079 | SEG.TIME.7
D02080 | SEG.TIME.MIN.7
D02081 | SEG.TEMP.8
D02082 | SEG.DP-C.8
D02083 | SEG.MT-C.8
D02084 | SEG.COOL-C.8
D02089 | SEG.TIME.8
D02090 | SEG.TIME.MIN.8
D02091 | SEG.TEMP.9
D02092 | SEG.DP-C.9
D02093 | SEG.MT-C.9
D02094 | SEG.COOL-C.9
D02099 | SEG.TIME.9
D02100 | SEG.TIME.MIN.9
D02101 | SEG.TEMP.10
D02102 | SEG.DP-C.10
D02103 | SEG.MT-C.10
D02104 | SEG.COOL-C.10
D02105 | 0
D02106 | 0
D02107 | 0
D02108 | 0
D02109 | SEG.TIME.10
D02110 | SEG.TIME.MIN.10
D02111 | SEG.TEMP.11
D02112 | SEG.DP-C.11
D02113 | SEG.MT-C.11
D02114 | SEG.COOL-C.11
D02115 | 0
D02116 | 0
D02117 | 0
D02118 | 0
D02119 | SEG.TIME.11
D02120 | SEG.TIME.MIN.11
D02121 | SEG.TEMP.12
D02122 | SEG.DP-C.12
D02123 | SEG.MT-C.12
D02124 | SEG.COOL-C.12
D02125 | 0
D02126 | 0
D02127 | 0
D02128 | 0
D02129 | SEG.TIME.12
D02130 | SEG.TIME.MIN.12
D02131 | SEG.TEMP.13
D02132 | SEG.DP-C.13
D02133 | SEG.MT-C.13
D02134 | SEG.COOL-C.13
D02135 | 0
D02136 | 0
D02137 | 0
D02138 | 0
D02139 | SEG.TIME.13
D02140 | SEG.TIME.MIN.13
D02141 | SEG.TEMP.14
D02142 | SEG.DP-C.14
D02143 | SEG.MT-C.14
D02144 | SEG.COOL-C.14
D02145 | 0
D02146 | 0
D02147 | 0
D02148 | 0
D02149 | SEG.TIME.14
D02150 | SEG.TIME.MIN.14
D02151 | SEG.TEMP.15
D02152 | SEG.DP-C.15
D02153 | SEG.MT-C.15
D02154 | SEG.COOL-C.15
D02155 | 0
D02156 | 0
D02157 | 0
D02158 | 0
D02159 | SEG.TIME.15
D02160 | SEG.TIME.MIN.15
D02161 | SEG.TEMP.16
D02162 | SEG.DP-C.16
D02163 | SEG.MT-C.16
D02164 | SEG.COOL-C.16
D02165 | 0
D02166 | 0
D02167 | 0
D02168 | 0
D02169 | SEG.TIME.16
D02170 | SEG.TIME.MIN.16
D02171 | SEG.TEMP.17
D02172 | SEG.DP-C.17
D02173 | SEG.MT-C.17
D02174 | SEG.COOL-C.17
D02175 | 0
D02176 | 0
D02177 | 0
D02178 | 0
D02179 | SEG.TIME.17
D02180 | SEG.TIME.MIN.17
D02181 | SEG.TEMP.18
D02182 | SEG.DP-C.18
D02183 | SEG.MT-C.18
D02184 | SEG.COOL-C.18
D02185 | 0
D02186 | 0
D02187 | 0
D02188 | 0
D02189 | SEG.TIME.18
D02190 | SEG.TIME.MIN.18
D02191 | SEG.TEMP.19
D02192 | SEG.DP-C.19
D02193 | SEG.MT-C.19
D02194 | SEG.COOL-C.19
D02195 | 0
D02196 | 0
D02197 | 0
D02198 | 0
D02199 | SEG.TIME.19
D02200 | SEG.TIME.MIN.19
D02201 | SEG.TEMP.20
D02202 | SEG.DP-C.20
D02203 | SEG.MT-C.20
D02204 | SEG.COOL-C.20
D02205 | 0
D02206 | 0
D02207 | 0
D02208 | 0
D02209 | SEG.TIME.20
D02210 | SEG.TIME.MIN.20
D02211 | SEG.TEMP.21
D02212 | SEG.DP-C.21
D02213 | SEG.MT-C.21
D02214 | SEG.COOL-C.21
D02215 | 0
D02216 | 0
D02217 | 0
D02218 | 0
D02219 | SEG.TIME.21
D02220 | SEG.TIME.MIN.21
D02221 | SEG.TEMP.22
D02222 | SEG.DP-C.22
D02223 | SEG.MT-C.22
D02224 | SEG.COOL-C.22
D02225 | 0
D02226 | 0
D02227 | 0
D02228 | 0
D02229 | SEG.TIME.22
D02230 | SEG.TIME.MIN.22
D02231 | SEG.TEMP.23
D02232 | SEG.DP-C.23
D02233 | SEG.MT-C.23
D02234 | SEG.COOL-C.23
D02235 | 0
D02236 | 0
D02237 | 0
D02238 | 0
D02239 | SEG.TIME.23
D02240 | SEG.TIME.MIN.23
D02241 | SEG.TEMP.24
D02242 | SEG.DP-C.24
D02243 | SEG.MT-C.24
D02244 | SEG.COOL-C.24
D02245 | 0
D02246 | 0
D02247 | 0
D02248 | 0
D02249 | SEG.TIME.24
D02250 | SEG.TIME.MIN.24
D02251 | SEG.TEMP.25
D02252 | SEG.DP-C.25
D02253 | SEG.MT-C.25
D02254 | SEG.COOL-C.25
D02255 | 0
D02256 | 0
D02257 | 0
D02258 | 0
D02259 | SEG.TIME.25
D02260 | SEG.TIME.MIN.25
D02261 | SEG.TEMP.26
D02262 | SEG.DP-C.26
D02263 | SEG.MT-C.26
D02264 | SEG.COOL-C.26
D02265 | 0
D02266 | 0
D02267 | 0
D02268 | 0
D02269 | SEG.TIME.26
D02270 | SEG.TIME.MIN.26
D02271 | SEG.TEMP.27
D02272 | SEG.DP-C.27
D02273 | SEG.MT-C.27
D02274 | SEG.COOL-C.27
D02275 | 0
D02276 | 0
D02277 | 0
D02278 | 0
D02279 | SEG.TIME.27
D02280 | SEG.TIME.MIN.27
D02281 | SEG.TEMP.28
D02282 | SEG.DP-C.28
D02283 | SEG.MT-C.28
D02284 | SEG.COOL-C.28
D02285 | 0
D02286 | 0
D02287 | 0
D02288 | 0
D02289 | SEG.TIME.28
D02290 | SEG.TIME.MIN.28
D02291 | SEG.TEMP.29
D02292 | SEG.DP-C.29
D02293 | SEG.MT-C.29
D02294 | SEG.COOL-C.29
D02295 | 0
D02296 | 0
D02297 | 0
D02298 | 0
D02299 | SEG.TIME.29
D02300 | SEG.TIME.MIN.29
D02301 | SEG.TEMP.30
D02302 | SEG.DP-C.30
D02303 | SEG.MT-C.30
D02304 | SEG.COOL-C.30
D02305 | SEG.MFC.30
D02306 | 0
D02307 | SEG.TS.ON.
D02308 | 0
D02309 | SEG.TIME.30
D02310 | SEG.TIME.MIN.30
D02401 | SEG-0.OFF/ON
D02402 | SEG-0.DP-C.SV
D02403 | SEG-0.DP-C.MOUT
D02404 | SEG-0.DP-C.MOUT.Time
D02405 | SEG-0.MT-C.SV
D02406 | SEG-0.O2.Analyzer.TSV
D02407 | SEG-0.O2.Done.Time
D02408 | SEG-0.MFC.SV
D02409 | SEG-0.STC
D02410 | SEG-0.SSV
D02411 | SEG-0.Safe.TEMP
D02412 | SEG-0.Exhust.SOL.On
D03001 | SEG.TS.WAIT.SEC_1
D03002 | (long)
D03003 | SEG.TS.ON.SEC_1
D03004 | (long)
D03005 | SEG.TS.WAIT.SEC_2
D03006 | (long)
D03007 | SEG.TS.ON.SEC_2
D03008 | (long)
D03009 | SEG.TS.WAIT.SEC_3
D03010 | (long)
D03011 | SEG.TS.ON.SEC_3
D03012 | (long)
D03013 | SEG.TS.WAIT.SEC_4
D03014 | (long)
D03015 | SEG.TS.ON.SEC_4
D03016 | (long)
D03017 | SEG.TS.WAIT.SEC_5
D03018 | (long)
D03019 | SEG.TS.ON.SEC_5
D03020 | (long)
D03021 | SEG.TS.WAIT.SEC_6
D03022 | (long)
D03023 | SEG.TS.ON.SEC_6
D03024 | (long)
D03025 | SEG.TS.WAIT.SEC_7
D03026 | (long)
D03027 | SEG.TS.ON.SEC_7
D03028 | (long)
D03029 | SEG.TS.WAIT.SEC_8
D03030 | (long)
D03031 | SEG.TS.ON.SEC_8
D03032 | (long)
D03033 | SEG.TS.WAIT.SEC_9
D03034 | (long)
D03035 | SEG.TS.ON.SEC_9
D03036 | (long)
D03037 | SEG.TS.WAIT.SEC_10
D03038 | (long)
D03039 | SEG.TS.ON.SEC_10
D04110 | ALM.LVL.Chamber-OT.BOUT
D04112 | ALM.LVL.DP-C.ABS_H
D04113 | ALM.LVL.DP-C.DEV_HLO
D04116 | ALM.LVL.DP-F.ABS_H
D04117 | ALM.LVL.DP-F.BOUT
D04119 | ALM.LVL.MT-C.DEV_HLO
D04120 | ALM.LVL.MT-C.BOUT
D04122 | ALM.LVL.COOL-C.DEV_HLO
D04123 | ALM.LVL.COOL-C.BOUT
D04125 | ALM.LVL.In-TEMP_1.ABS_H
D04126 | ALM.LVL.In-TEMP_1.BOUT
D04127 | ALM.LVL.In-TEMP_2.ABS_H
D04128 | ALM.LVL.In-TEMP_2.BOUT
D04129 | ALM.LVL.In-TEMP_3.ABS_H
D04130 | ALM.LVL.In-TEMP_3.BOUT
D04131 | ALM.LVL.In-TEMP_4.ABS_H
D04132 | ALM.LVL.In-TEMP_4.BOUT
D04134 | ALM.LVL.MFC.DEV_HLO
D04151 | ALM.LVL.Emergency S/W On Alarm
D04152 | ALM.LVL.Main Heater EOCR Alarm
D04153 | ALM.LVL.Chamber Blow MT EOCR ALM
D04154 | ALM.LVL.Cooling Blow MT EOCR ALM
D04155 | ALM.LVL.Chamber Blow INV Alarm
D04156 | ALM.LVL.Cooling Blow INV Alarm
D04210 | ALM.TMR.Chamber-OT.BOUT
D04212 | ALM.TMR.DP-C.ABS_H
D04213 | ALM.TMR.DP-C.DEV_HLO
D04216 | ALM.TMR.DP-F.ABS_H
D04217 | ALM.TMR.DP-F.BOUT
D04219 | ALM.TMR.MT-C.DEV_HLO
D04220 | ALM.TMR.MT-C.BOUT
D04222 | ALM.TMR.COOL-C.DEV_HLO
D04223 | ALM.TMR.COOL-C.BOUT
D04225 | ALM.TMR.In-TEMP_1.ABS_H
D04226 | ALM.TMR.In-TEMP_1.BOUT
D04227 | ALM.TMR.In-TEMP_2.ABS_H
D04228 | ALM.TMR.In-TEMP_2.BOUT
D04229 | ALM.TMR.In-TEMP_3.ABS_H
D04230 | ALM.TMR.In-TEMP_3.BOUT
D04231 | ALM.TMR.In-TEMP_4.ABS_H
D04232 | ALM.TMR.In-TEMP_4.BOUT
D04234 | ALM.TMR.MFC.DEV_HLO
D04251 | ALM.TMR.Emergency S/W On Alarm
D04252 | ALM.TMR.Main Heater EOCR Alarm
D04253 | ALM.TMR.Chamber B-MT EOCR Alarm
D04254 | ALM.TMR.Cool Blow MT EOCR Alarm
D04255 | ALM.TMR.Chamber Blow INV Alarm
D04256 | ALM.TMR.Cooling Blow INV Alarm
D04311 | ALM.CAL.DP-C.DEV_HLO_H
D04312 | ALM.CAL.DP-C.DEV_HLO_L
D04315 | ALM.CAL.MT-C.DEV_HLO_L
D04317 | ALM.CAL.MT-C.DEV_HLO_H
D04318 | ALM.CAL.MT-C.DEV_HLO_L
D04331 | ALM.CAL.MFC.DEV_HLO_H
D04332 | ALM.CAL.MFC.DEV_HLO_L
D05001 | SLOT-4
D05002 | SLOT-6
D05003 | SLOT-7
D05061 | OUTPUT_4
D05066 | Read.OPE_4
D05071 | SLOT_4_OUTSEL1
D05072 | SLOT_4_OUTSEL2
D05073 | SLOT_4_OUTSEL3
D05074 | SLOT_4_OUTSEL4
D05075 | SLOT_4_OUTSEL5
D05076 | SLOT_4_OUTSEL6
D05077 | SLOT_4_OUTSEL7
D05078 | SLOT_4_OUTSEL8
D05081 | SLOT_DREG_DISP
D05082 | (long)
D05099 | OPE_SLOT_SET_SCALE
D05111 | LOAD.PTN.VAR1
D05112 | LOAD.PTN.VAR2
D05115 | EDIT.PTN.VAR1
D05116 | EDIT.PTN.VAR2
D05121 | EDIT.PTN.INDEX1
D05122 | EDIT.PTN.INDEX2
D05123 | EDIT.PTN.INDEX3
D05124 | EDIT.PTN.INDEX4
D05125 | EDIT.PTN.INDEX5
D05126 | EDIT.PTN.INDEX6
D05127 | EDIT.PTN.INDEX7
D05128 | EDIT.PTN.INDEX8
D05129 | EDIT.PTN.INDEX9
D05130 | EDIT.PTN.INDEX10
D05141 | GET.INFO.INDEX1
D05142 | GET.INFO.INDEX2
D05143 | GET.INFO.INDEX3
D05146 | SET.TSP.VAR1
D05147 | SET.TSP.VAR2
D05148 | SET.TSP.VAR3
D05151 | GET.TM.VAR1
D05152 | GET.TM.VAR2
D05153 | GET.TM.VAR3
D05154 | GET.TM.VAR4
D05155 | GET.TM.VAR5
D05156 | GET.TM.VAR6
D05157 | GET.TM.VAR7
D05158 | GET.TM.VAR8
D05161 | HOLD.TM.VAR1
D05162 | HOLD.TM.VAR2
D05163 | HOLD.TM.VAR3
D05164 | HOLD.TM.VAR4
D05170 | CAL.RUN.SEG1
D05172 | CAL.RUN.SEG2
D05173 | (long)
D05174 | CAL.STC.VAL2
D05175 | CAL.STC.VAL1
D05176 | CAL.STC.VAL2
D05177 | CAL.STC.VAL3
D05178 | CAL.STC.VAL4
D05179 | CAL.STC.VAL5
D05180 | CAL.STC.VAL6
D05181 | CAL.STC.VAL7
D05182 | CAL.STC.VAL8
D05183 | CAL.STC.VAL9
D05185 | RD.MV.TRUNC1
D05186 | RD.MV.TRUNC2
D05191 | KEEP.SEG.SV.VAL
D05193 | GET.SV1.OPER.SEG1
D05194 | GET.SV1.OPER.SEG2
D05195 | GET.SV1.OPER.SEG3
D05201 | PREV.SV.TEMP
D05211 | NOW.SV.TEMP
D05221 | DEV.TEMP
D05231 | DEV.TEMP.FP
D05232 | (long)
D05245 | SEG.ACT.TIME.SEC
D05248 | SEG.ACT.TIME.FP
D05251 | DISP.TEMP.FP
D05271 | CUR.TEMP.FP
D05291 | CUR.SV.TEMP
D05301 | CAL.AOUT.FS
D05303 | CAL.AOUT.(TSV-SL)
D05305 | CAL.AOUT(TSV-SL)/FS
D05309 | CAL.AOUT.100.0
D05311 | CAL.AOUT.결과-1
D05312 | CAL.AOUT.결과-2
D05313 | CAL.AOUT.결과-3(xxx.x%)
D05314 | CAL.AOUT.결과-4(xxx.x%)
D05318 | CAL.AOUT.결과-3
D05319 | CAL.AOUT.결과-4
D05331 | CAL.Pre-RUN.DP-C.Time
D05335 | Pre_RUN.O2.Timer.Sec
D05336 | Pre_RUN.O2.Timer.Min
D06001 | ALM_Word.Sensor_1
D06002 | ALM_Word.Sensor_2
D06003 | ALM_Word.Sensor_3
D06004 | ALM_Word.Sensor_4
D06011 | ALM.Word.Device_1
D06012 | ALM.Word.Device_2
D06013 | ALM.Word.Device_3
D06014
D06051 | Bak.ALM_Word.Sensor_1
D06052 | Bak.ALM_Word.Sensor_2
D06053 | Bak.ALM_Word.Sensor_3
D06054 | Bak.ALM_Word.Sensor_4
D06061 | Bak.ALM.Word.Device_1
D06062 | Bak.ALM.Word.Device_2
D06063 | Bak.ALM.Word.Device_3
D06064
D08001 | PC.OP.MODE
D08002 | PC.ALM.Sensor_1
D08003 | PC.ALM.Sensor_2
D08004 | PC.ALM.Sensor_3
D08005 | PC.ALM.DEV_1
D08006 | PC.ALM.DEV_2
D08007 | PC.ALM.DEV_3
D08008 | PC.ALM.DEV_4
D08009 | PC.PTNO
D08010 | PC.SEG.NO
D08011 | PC.USE.SEG.NO
D08012 | PC.SEG.TIME_1
D08013 | PC.SEG.TIME_2
D08014 | PC.RUN.TIME_1
D08015 | PC.RUN.TIME_2
D08016 | PC.RUN_TOTAL.TIME_1
D08017 | PC.RUN_TOTAL.TIME_2
D08018 | PC.HOLD.TIME_1
D08019 | PC.HOLD.TIME_2
D08020 | PC.TS.On.Status
D08021 | PC.TEMP.PV
D08022 | PC.TEMP.SV
D08023 | PC.TEMP.TSV
D08024 | PC.TEMP.MV
D08025 | PC.Chamber.OT.PV
D08026 | PC.Heater.OT.PV
D08027 | PC.DP.Chamber.PV
D08028 | PC.DP-C.TSV
D08029 | PC.DP.Chamber.MV
D08030 | PC.DP.Filter.PV
D08031 | PC.DP-F.TSV(Spare)
D08032 | PC.DP.Filter.MV(Spare)
D08033 | PC.Motor.Chamer.PV
D08034 | PC.MT-C.TSV
D08035 | PC.Motor.Chamber.MV
D08036 | PC.Cooling.Chamber.PV
D08037 | PC.COOL-C.TSV
D08038 | PC.Cooling.Chamber.MV
D08039 | PC.In-TEMP_1.PV
D08040 | PC.In-TEMP_2.PV
D08041 | PC.In-TEMP_3.PV
D08042 | PC.In-TEMP_4.PV
D08043 | PC.X_Device_1
D08044 | PC.X_Device_2
D08045 | PC.X_Device_3
D08046 | PC.X_Device_4
D08047 | PC.Y_Device_1
D08048 | PC.Y_Device_2
D08049 | PC.Y_Device_3
D08050 | PC.Y_Device_4
D08051 | PC.RH_TEMP
D08052 | PC.RL_TEMP
D08053 | PC.SH_DP_C
D08054 | PC.SL_DP_C
D08055 | PC.SDP_DP_C
D08056 | PC.SH_DP_F
D08057 | PC.SL_DP_F
D08058 | PC.SDP_DP_F
D08059 | PC.SH_MT_C
D08060 | PC.SL_MT_C
D08061 | PC.SDP_MT_C
D08062 | PC.SH_COOL_C
D08063 | PC.SL_COOL_C
D08064 | PC.SDP_COOL_C
D08101 | PC.MAN.TEMP.SV
D08102 | PC.MAN.DP-C.SV
D08103 | PC.MAN.MT-C.SV
D08104 | PC.MAN.COOL-C.SV
D08105 | PC.MAN.TEMP.SPR.UP
D08106 | PC.MAN.TEMP.SPR.DN
D08107 | PC.MAN.SWITCH_1
D08108 | PC.MAN.SWITCH_2
D08109 | PC.AT
D08110 | PC.On.Alarm
D08111 | PC.N2.MFC.Enable
D08112 | PC.Door.Open.Condition
D08113 | PC.Door.Open.Enable
D08114 | PC.Graph.Save.Flag
D08115 | PC.SEG_1.DP-C.MOUT.VAL
D08116 | PC.SEG_1.DP-C.MOUT.Time
D08201 | PC.ALM.LVL.TEMP.ABS_H
D08202 | PC.ALM.LVL.TEMP.DEV_HLO_1
D08203 | PC.ALM.LVL.TEMP.DEV_HLO_2
D08204 | PC.ALM.LVL.TEMP.BOUT
D08205 | PC.ALM.LVL.Chamber-OT.ABS_H
D08206 | PC.ALM.LVL.Chamber-OT.BOUT
D08207 | PC.ALM.LVL.Heater-OT.ABS_H
D08208 | PC.ALM.LVL.Heater-OT.BOUT
D08209 | PC.ALM.LVL.DP-C.ABS_H
D08210 | PC.ALM.LVL.DP-C.DEV_HLO
D08211 | PC.ALM.LVL.DP-C.BOUT
D08212 | PC.ALM.LVL.DP-F.ABS_H
D08213 | PC.ALM.LVL.DP-F.BOUT
D08214 | PC.ALM.LVL.MT-C.DEV_HLO
D08215 | PC.ALM.LVL.MT-C.BOUT
D08216 | PC.ALM.LVL.COOL-C.DEV_HLO
D08217 | PC.ALM.LVL.COOL-C.BOUT
D08218 | PC.ALM.LVL.In-TEMP_1.ABS_H
D08219 | PC.ALM.LVL.In-TEMP_1.BOUT
D08220 | PC.ALM.LVL.In-TEMP_2.ABS_H
D08221 | PC.ALM.LVL.In-TEMP_2.BOUT
D08222 | PC.ALM.LVL.In-TEMP_3.ABS_H
D08223 | PC.ALM.LVL.In-TEMP_3.BOUT
D08224 | PC.ALM.LVL.In-TEMP_4.ABS_H
D08225 | PC.ALM.LVL.In-TEMP_4.BOUT
D08226 | PC.ALM.LVL.MFC.DEV_HLO
D08231 | PC.ALM.LVL.EMGCY S/W On Alarm
D08232 | PC.ALM.LVL.M-Heater EOCR Alarm
D08233 | PC.ALM.LVL.Chamber B-MT EOCR Alm
D08234 | PC.ALM.LVL.Cooling B-MT EOCR Alm
D08235 | PC.ALM.LVL.Chamber B-INV Alarm
D08236 | PC.ALM.LVL.Cooling B-INV Alarm
D08237 | PC.ALM.LVL.Door Lock Alarm
D08238 | PC.ALM.LVL.Door Unlock Alarm
D08239 | PC.ALM.LVL.Door Open(RUN) Alarm
D08240 | PC.ALM.LVL.Door Open T-Out Alm
D08241 | PC.ALM.LVL.Door Close T-Out Alm
D08242 | PC.ALM.LVL.Run 불가 중 Run 시도
D08243 | PC.ALM.LVL.RS485 COMM Alarm
D08244 | PC.ALM.LVL.Air Pressure Low
D08245 | PC.ALM.LVL.N2 Pressure Low
D08246 | PC.ALM.LVL.Cooling Pressure Low
D08247 | PC.ALM.LVL.SSR Bi-metal Alarm
D08248 | PC.ALM.LVL.Exhaust Sensor Alarm
D08249 | PC.ALM.LVL.Leak Sensor #1 Alarm
D08250 | PC.ALM.LVL.Leak Sensor #2 Alarm
D08251 | PC.ALM.LVL.Door Area Sensor Alm
D08252 | PC.ALM.LVL.Smoke Alarm
D08253 | PC.ALM.LVL.Chamber PG Time Over
D08301 | PC.ALM.TMR.TEMP.ABS_H
D08302 | PC.ALM.TMR.TEMP.DEV_HLO_1
D08303 | PC.ALM.TMR.TEMP.DEV_HLO_2
D08304 | PC.ALM.TMR.TEMP.BOUT
D08305 | PC.ALM.TMR.Chamber-OT.ABS_H
D08306 | PC.ALM.TMR.Chamber-OT.BOUT
D08307 | PC.ALM.TMR.Heater-OT.ABS_H
D08308 | PC.ALM.TMR.Heater-OT.BOUT
D08309 | PC.ALM.TMR.DP-C.ABS_H
D08310 | PC.ALM.TMR.DP-C.DEV_HLO
D08311 | PC.ALM.TMR.DP-C.BOUT
D08312 | PC.ALM.TMR.DP-F.ABS_H
D08313 | PC.ALM.TMR.DP-F.BOUT
D08314 | PC.ALM.TMR.MT-C.DEV_HLO
D08315 | PC.ALM.TMR.MT-C.BOUT
D08316 | PC.ALM.TMR.COOL-C.DEV_HLO
D08317 | PC.ALM.TMR.COOL-C.BOUT
D08318 | PC.ALM.TMR.In-TEMP_1.ABS_H
D08319 | PC.ALM.TMR.In-TEMP_1.BOUT
D08320 | PC.ALM.TMR.In-TEMP_2.ABS_H
D08321 | PC.ALM.TMR.In-TEMP_2.BOUT
D08322 | PC.ALM.TMR.In-TEMP_3.ABS_H
D08323 | PC.ALM.TMR.In-TEMP_3.BOUT
D08324 | PC.ALM.TMR.In-TEMP_4.ABS_H
D08325 | PC.ALM.TMR.In-TEMP_4.BOUT
D08326 | PC.ALM.TMR.MFC.DEV_HLO
D08331 | PC.ALM.TMR.EMGCY S/W On Alarm
D08332 | PC.ALM.TMR.M-Heater EOCR Alarm
D08333 | PC.ALM.TMR.Chamber B-MT EOCR Alm
D08334 | PC.ALM.TMR.Cooling B-MT EOCR Alm
D08335 | PC.ALM.TMR.Chamber B-INV Alarm
D08336 | PC.ALM.TMR.Cooling B-INV Alarm
D08337 | PC.ALM.TMR.Door Lock Alarm
D08338 | PC.ALM.TMR.Door Unlock Alarm
D08339 | PC.ALM.TMR.Door Open(RUN) Alarm
D08340 | PC.ALM.TMR.Door Open T-Out Alm
D08341 | PC.ALM.TMR.Door Close T-Out Alm
D08342 | PC.ALM.TMR.Run 불가 중 Run 시도
D08343 | PC.ALM.TMR.RS485 COMM Alarm
D08344 | PC.ALM.TMR.Air Pressure Low
D08345 | PC.ALM.TMR.N2 Pressure Low
D08346 | PC.ALM.TMR.Cooling Pressure Low
D08347 | PC.ALM.TMR.SSR Bi-metal Alarm
D08348 | PC.ALM.TMR.Exhaust Sensor Alarm
D08349 | PC.ALM.TMR.Leak Sensor #1 Alarm
D08350 | PC.ALM.TMR.Leak Sensor #2 Alarm
D08351 | PC.ALM.TMR.Door Area Sensor Alm
D08352 | PC.ALM.TMR.Smoke Alarm
D08353 | PC.ALM.TMR.Chamber PG Time Over
D08364 | PC.ALM.TMR.Alarm.ReCheck
D08401 | PC.ALM.VAL.TEMP.ABS_H
D08402 | PC.ALM.VAL.TEMP.DEV_HLO_1
D08403 | PC.ALM.VAL.TEMP.DEV_HLO_2
D08404 | PC.ALM.VAL.Chamber-OT.ABS_H
D08405 | PC.ALM.VAL.Heater-OT.ABS_H
D08406 | PC.ALM.VAL.DP-C.ABS_H
D08407 | PC.ALM.VAL.DP-C.DEV_HLO
D08408 | PC.ALM.VAL.DP-F.ABS_H
D08409 | PC.ALM.VAL.MT-C.DEV_HLO
D08410 | PC.ALM.VAL.COOL-C.DEV_HLO
D08411 | PC.ALM.VAL.In-TEMP_1.ABS_H
D08412 | PC.ALM.VAL.In-TEMP_2.ABS_H
D08413 | PC.ALM.VAL.In-TEMP_3.ABS_H
D08414 | PC.ALM.VAL.In-TEMP_4.ABS_H
D08415 | PC.ALM.VAL.MFC.DEV_HLO
D09001 | BS_CH1
D09002 | FL_CH1
D09003 | X1_CH1
D09004 | Y1_CH1
D09005 | X2_CH1
D09006 | Y2_CH1
D09007 | X3_CH1
D09008 | Y3_CH1
D09009 | SC_CH1
D09010 | SPR.UP_CH1
D09011 | SPR.DN_CH1
D09012 | SPR.TM_CH1
D09013 | SP.TR_CH1
D09014 | ZONE_CH1
D09015 | 1RP_CH1
D09016 | 2RP_CH1
D09017 | RHY_CH1
D09018 | RDV_CH1
D09019 | CT_CH1
D09020 | Pb_CH1
D09021 | Ti_CH1
D09022 | Td_CH1
D09023 | OH_CH1
D09024 | OL_CH1
D09025 | MR_CH1
D09026 | DR_CH1
D09027 | POUT_CH1
D09031 | RH_CH1
D09032 | RL_CH1
D09034 | SH_CH1
D09035 | SL_CH1
D09036 | SDP_CH1
D09038 | AOUT.SH.CH1
D09039 | AOUT.SL.CH1
D09051 | BS_CH2
D09052 | FL_CH2
D09053 | X1_CH2
D09054 | Y1_CH2
D09055 | X2_CH2
D09056 | Y2_CH2
D09057 | X3_CH2
D09058 | Y3_CH2
D09059 | SC_CH2
D09060 | SPR.UP_CH2
D09061 | SPR.DN_CH2
D09062 | SPR.TM_CH2
D09063 | SP.TR_CH2
D09064 | ZONE_CH2
D09065 | 1RP_CH2
D09066 | 2RP_CH2
D09067 | RHY_CH2
D09068 | RDV_CH2
D09069 | CT_CH2
D09070 | Pb_CH2
D09071 | Ti_CH2
D09072 | Td_CH2
D09073 | OH_CH2
D09074 | OL_CH2
D09075 | MR_CH2
D09076 | DR_CH2
D09077 | POUT_CH2
D09081 | RH_CH2
D09082 | RL_CH2
D09084 | SH_CH2
D09085 | SL_CH2
D09086 | SDP_CH2
D09088 | AOUT.SH.CH2
D09089 | AOUT.SL.CH2
D09101 | BS_CH3
D09102 | FL_CH3
D09103 | X1_CH3
D09104 | Y1_CH3
D09105 | X2_CH3
D09106 | Y2_CH3
D09107 | X3_CH3
D09108 | Y3_CH3
D09109 | SC_CH3
D09110 | SPR.UP_CH3
D09111 | SPR.DN_CH3
D09112 | SPR.TM_CH3
D09113 | SP.TR_CH3
D09114 | ZONE_CH3
D09115 | 1RP_CH3
D09116 | 2RP_CH3
D09117 | RHY_CH3
D09118 | RDV_CH3
D09119 | CT
D09120 | Pb_CH3
D09121 | Ti_CH3
D09122 | Td_CH3
D09123 | OH_CH3
D09124 | OL_CH3
D09125 | MR_CH3
D09126 | DR_CH3
D09127 | POUT_CH3
D09131 | RH_CH3
D09132 | RL_CH3
D09134 | SH_CH3
D09135 | SL_CH3
D09136 | SDP_CH3
D09138 | AOUT.SH.CH3
D09139 | AOUT.SL.CH3
D09151 | BS_CH3
D09152 | FL_CH3
D09153 | X1_CH3
D09154 | Y1_CH3
D09155 | X2_CH3
D09156 | Y2_CH3
D09157 | X3_CH3
D09158 | Y3_CH3
D09159 | SC_CH3
D09160 | SPR.UP_CH3
D09161 | SPR.DN_CH3
D09162 | SPR.TM_CH3
D09163 | SP.TR_CH3
D09164 | ZONE_CH3
D09165 | 1RP_CH3
D09166 | 2RP_CH3
D09167 | RHY_CH3
D09168 | RDV_CH3
D09169 | CT
D09170 | Pb_CH3
D09171 | Ti_CH3
D09172 | Td_CH3
D09173 | OH_CH3
D09174 | OL_CH3
D09175 | MR_CH3
D09176 | DR_CH3
D09177 | POUT_CH3
D09181 | RH_CH4
D09182 | RL_CH4
D09184 | SH_CH4
D09185 | SL_CH4
D09186 | SDP_CH4
D09188 | AOUT.SH.CH4
D09189 | AOUT.SL.CH4
D09291 | Zone Disp No
D09292 | BAK Zone Disp No
D09293 | Set Zone Para On
D10101 | PVIN_1
D10102 | PV_1
D10103 | CSP_1
D10104 | OUT_1
D10105 | EXPV_1
D10106 | RSP_1
D10107 | MOUT_1
D10108 | RUN.STS_1
D10109 | ALM.STS_1
D10110 | ERR.STS_1
D10111 | AT.STS_1
D10113 | BS_1
D10114 | FL_1
D10115 | X1_1
D10116 | Y1_1
D10117 | X2_1
D10118 | Y2_1
D10119 | X3_1
D10120 | Y3_1
D10121 | SC_1
D10123 | SPR.UP_1
D10124 | SPR.DN_1
D10125 | SPR.TM_1
D10126 | SP.TR_1
D10128 | ZONE_1
D10129 | 1RP_1
D10130 | 2RP_1
D10131 | RHY_1
D10132 | RDV_1
D10134 | CT_1
D10141 | Pb_1
D10142 | Ti_1
D10143 | Td_1
D10144 | OH_1
D10145 | OL_1
D10146 | MR_1
D10148 | DR_1
D10149 | POUT_1
D10181 | OT_1
D10182 | IN_1
D10183 | RH_1
D10184 | RL_1
D10185 | DEC.P_1
D10186 | SH_1
D10187 | SL_1
D10188 | SDP_1
D10190 | AOUT.SH_1
D10191 | AOUT.SL_1
D10195 | OUTPUT.DOT_1
D10196 | long word
D10201 | PVIN_2
D10202 | PV_2
D10203 | CSP_2
D10204 | OUT_2
D10205 | EXPV_2
D10206 | RSP_2
D10207 | MOUT_2
D10208 | RUN.STS_2
D10209 | ALM.STS_2
D10210 | ERR.STS_2
D10211 | AT.STS_2
D10213 | BS_2
D10214 | FL_2
D10215 | X1_2
D10216 | Y1_2
D10217 | X2_2
D10218 | Y2_2
D10219 | X3_2
D10220 | Y3_2
D10221 | SC_2
D10223 | SPR.UP_2
D10224 | SPR.DN_2
D10225 | SPR.TM_2
D10226 | SP.TR_2
D10228 | ZONE_2
D10229 | 1RP_2
D10230 | 2RP_2
D10231 | RHY_2
D10232 | RDV_2
D10234 | CT
D10241 | Pb_2
D10242 | Ti_2
D10243 | Td_2
D10244 | OH_2
D10245 | OL_2
D10246 | MR_2
D10248 | DR_2
D10249 | POUT_2
D10281 | OT_2
D10282 | IN_2
D10283 | RH_2
D10284 | RL_2
D10285 | DEC.P_2
D10286 | SH_2
D10287 | SL_2
D10288 | SDP_2
D10290 | AOUT.SH_2
D10291 | AOUT.SL_2
D10295 | OUTPUT.DOT_2
D10296 | long word
D10301 | PVIN_3
D10302 | PV_3
D10303 | CSP_3
D10304 | OUT_3
D10305 | EXPV_3
D10306 | RSP_3
D10307 | MOUT_3
D10308 | RUN.STS_3
D10309 | ALM.STS_3
D10310 | ERR.STS_3
D10311 | AT.STS_3
D10313 | BS_3
D10314 | FL_3
D10315 | X1_3
D10316 | Y1_3
D10317 | X2_3
D10318 | Y2_3
D10319 | X3_3
D10320 | Y3_3
D10321 | SC_3
D10323 | SPR.UP_3
D10324 | SPR.DN_3
D10325 | SPR.TM_3
D10326 | SP.TR_3
D10328 | ZONE_3
D10329 | 1RP_3
D10330 | 2RP_3
D10331 | RHY_3
D10332 | RDV_3
D10334 | CT
D10341 | Pb_3
D10342 | Ti_3
D10343 | Td_3
D10344 | OH_3
D10345 | OL_3
D10346 | MR_3
D10348 | DR_3
D10349 | POUT_3
D10381 | OT_3
D10382 | IN_3
D10383 | RH_3
D10384 | RL_3
D10385 | DEC.P_3
D10386 | SH_3
D10387 | SL_3
D10388 | SDP_3
D10390 | AOUT.SH_3
D10391 | AOUT.SL_3
D10395 | OUTPUT.DOT_3
D10396 | long word
D10401 | PVIN_4
D10402 | PV_4
D10403 | CSP_4
D10404 | OUT_4
D10405 | EXPV_4
D10406 | RSP_4
D10407 | MOUT_4
D10408 | RUN.STS_4
D10409 | ALM.STS_4
D10410 | ERR.STS_4
D10411 | AT.STS_4
D10413 | BS_4
D10414 | FL_4
D10415 | X1_4
D10416 | Y1_4
D10417 | X2_4
D10418 | Y2_4
D10419 | X3_4
D10420 | Y3_4
D10421 | SC_4
D10423 | SPR.UP_4
D10424 | SPR.DN_4
D10425 | SPR.TM_4
D10426 | SP.TR_4
D10428 | ZONE_4
D10429 | 1RP_4
D10430 | 2RP_4
D10431 | RHY_4
D10432 | RDV_4
D10434 | CT
D10441 | Pb_4
D10442 | Ti_4
D10443 | Td_4
D10444 | OH_4
D10445 | OL_4
D10446 | MR_4
D10448 | DR_4
D10449 | POUT_4
D10481 | OT_4
D10482 | IN_4
D10483 | RH_4
D10484 | RL_4
D10485 | DEC.P_4
D10486 | SH_4
D10487 | SL_4
D10488 | SDP_4
D10490 | AOUT.SH_4
D10491 | AOUT.SL_4
D10495 | OUTPUT.DOT_4
D10496 | long word
D10501 | PVIN_5
D10502 | PV_5
D10503 | CSP_5
D10504 | OUT_5
D10505 | EXPV_5
D10506 | RSP_5
D10507 | MOUT_5
D10508 | RUN.STS_5
D10509 | ALM.STS_5
D10510 | ERR.STS_5
D10511 | AT.STS_5
D10513 | BS_5
D10514 | FL_5
D10515 | X1_5
D10516 | Y1_5
D10517 | X2_5
D10518 | Y2_5
D10519 | X3_5
D10520 | Y3_5
D10521 | SC_5
D10523 | SPR.UP_5
D10524 | SPR.DN_5
D10525 | SPR.TM_5
D10526 | SP.TR_5
D10528 | ZONE_5
D10529 | 1RP_5
D10530 | 2RP_5
D10531 | RHY_5
D10532 | RDV_5
D10534 | CT
D10541 | Pb_5
D10542 | Ti_5
D10543 | Td_5
D10544 | OH_5
D10545 | OL_5
D10546 | MR_5
D10548 | DR_5
D10549 | POUT_5
D10581 | OT_5
D10582 | IN_5
D10583 | RH_5
D10584 | RL_5
D10585 | DEC.P_5
D10586 | SH_5
D10587 | SL_5
D10588 | SDP_5
D10590 | AOUT.SH_5
D10591 | AOUT.SL_5
D10595 | OUTPUT.DOT_5
D10596 | long word
D10601 | PVIN_6
D10602 | PV_6
D10603 | CSP_6
D10604 | OUT_6
D10605 | EXPV_6
D10606 | RSP_6
D10607 | MOUT_6
D10608 | RUN.STS_6
D10609 | ALM.STS_6
D10610 | ERR.STS_6
D10611 | AT.STS_6
D10613 | BS_6
D10614 | FL_6
D10615 | X1_6
D10616 | Y1_6
D10617 | X2_6
D10618 | Y2_6
D10619 | X3_6
D10620 | Y3_6
D10621 | SC_6
D10623 | SPR.UP_6
D10624 | SPR.DN_6
D10625 | SPR.TM_6
D10626 | SP.TR_6
D10628 | ZONE_6
D10629 | 1RP_6
D10630 | 2RP_6
D10631 | RHY_6
D10632 | RDV_6
D10634 | CT
D10641 | Pb_6
D10642 | Ti_6
D10643 | Td_6
D10644 | OH_6
D10645 | OL_6
D10646 | MR_6
D10648 | DR_6
D10649 | POUT_6
D10681 | OT_6
D10682 | IN_6
D10683 | RH_6
D10684 | RL_6
D10685 | DEC.P_6
D10686 | SH_6
D10687 | SL_6
D10688 | SDP_6
D10690 | AOUT.SH_6
D10691 | AOUT.SL_6
D10695 | OUTPUT.DOT_6
D10696 | long word
D10701 | PVIN_7
D10702 | PV_7
D10703 | CSP_7
D10704 | OUT_7
D10705 | EXPV_7
D10706 | RSP_7
D10707 | MOUT_7
D10708 | RUN.STS_7
D10709 | ALM.STS_7
D10710 | ERR.STS_7
D10711 | AT.STS_7
D10713 | BS_7
D10714 | FL_7
D10715 | X1_7
D10716 | Y1_7
D10717 | X2_7
D10718 | Y2_7
D10719 | X3_7
D10720 | Y3_7
D10721 | SC_7
D10723 | SPR.UP_7
D10724 | SPR.DN_7
D10725 | SPR.TM_7
D10726 | SP.TR_7
D10728 | ZONE_7
D10729 | 1RP_7
D10730 | 2RP_7
D10731 | RHY_7
D10732 | RDV_7
D10734 | CT
D10741 | Pb_7
D10742 | Ti_7
D10743 | Td_7
D10744 | OH_7
D10745 | OL_7
D10746 | MR_7
D10748 | DR_7
D10749 | POUT_7
D10781 | OT_7
D10782 | IN_7
D10783 | RH_7
D10784 | RL_7
D10785 | DEC.P_7
D10786 | SH_7
D10787 | SL_7
D10788 | SDP_7
D10790 | AOUT.SH_7
D10791 | AOUT.SL_7
D10795 | OUTPUT.DOT_7
D10796 | long word
D10801 | PVIN_8
D10802 | PV_8
D10803 | CSP_8
D10804 | OUT_8
D10805 | EXPV_8
D10806 | RSP_8
D10807 | MOUT_8
D10808 | RUN.STS_8
D10809 | ALM.STS_8
D10810 | ERR.STS_8
D10811 | AT.STS_8
D10813 | BS_8
D10814 | FL_8
D10815 | X1_8
D10816 | Y1_8
D10817 | X2_8
D10818 | Y2_8
D10819 | X3_8
D10820 | Y3_8
D10821 | SC_8
D10823 | SPR.UP_8
D10824 | SPR.DN_8
D10825 | SPR.TM_8
D10826 | SP.TR_8
D10828 | ZONE_8
D10829 | 1RP_8
D10830 | 2RP_8
D10831 | RHY_8
D10832 | RDV_8
D10834 | CT
D10841 | Pb_8
D10842 | Ti_8
D10843 | Td_8
D10844 | OH_8
D10845 | OL_8
D10846 | MR_8
D10848 | DR_8
D10849 | POUT_8
D10881 | OT_8
D10882 | IN_8
D10883 | RH_8
D10884 | RL_8
D10885 | DEC.P_8
D10886 | SH_8
D10887 | SL_8
D10888 | SDP_8
D10890 | AOUT.SH_8
D10891 | AOUT.SL_8
D10895 | OUTPUT.DOT_8
D10896 | long word
D10901 | PVIN_9
D10902 | PV_9
D10903 | CSP_9
D10904 | OUT_9
D10905 | EXPV_9
D10906 | RSP_9
D10907 | MOUT_9
D10908 | RUN.STS_9
D10909 | ALM.STS_9
D10910 | ERR.STS_9
D10911 | AT.STS_9
D10913 | BS_9
D10914 | FL_9
D10915 | X1_9
D10916 | Y1_9
D10917 | X2_9
D10918 | Y2_9
D10919 | X3_9
D10920 | Y3_9
D10921 | SC_9
D10923 | SPR.UP_9
D10924 | SPR.DN_9
D10925 | SPR.TM_9
D10926 | SP.TR_9
D10928 | ZONE_9
D10929 | 1RP_9
D10930 | 2RP_9
D10931 | RHY_9
D10932 | RDV_9
D10934 | CT
D10941 | Pb_9
D10942 | Ti_9
D10943 | Td_9
D10944 | OH_9
D10945 | OL_9
D10946 | MR_9
D10948 | DR_9
D10949 | POUT_9
D10981 | OT_9
D10982 | IN_9
D10983 | RH_9
D10984 | RL_9
D10985 | DEC.P_9
D10986 | SH_9
D10987 | SL_9
D10988 | SDP_9
D10990 | AOUT.SH_9
D10991 | AOUT.SL_9
D10995 | OUTPUT.DOT_9
D10996 | long word
D11001 | PVIN_10
D11002 | PV_10
D11003 | CSP_10
D11004 | OUT_10
D11005 | EXPV_10
D11006 | RSP_10
D11007 | MOUT_10
D11008 | RUN.STS_10
D11009 | ALM.STS_10
D11010 | ERR.STS_10
D11011 | AT.STS_10
D11013 | BS_10
D11014 | FL_10
D11015 | X1_10
D11016 | Y1_10
D11017 | X2_10
D11018 | Y2_10
D11019 | X3_10
D11020 | Y3_10
D11021 | SC_10
D11023 | SPR.UP_10
D11024 | SPR.DN_10
D11025 | SPR.TM_10
D11026 | SP.TR_10
D11028 | ZONE_10
D11029 | 1RP_10
D11030 | 2RP_10
D11031 | RHY_10
D11032 | RDV_10
D11034 | CT
D11041 | Pb_10
D11042 | Ti_10
D11043 | Td_10
D11044 | OH_10
D11045 | OL_10
D11046 | MR_10
D11048 | DR_10
D11049 | POUT_10
D11081 | OT_10
D11082 | IN_10
D11083 | RH_10
D11084 | RL_10
D11085 | DEC.P_10
D11086 | SH_10
D11087 | SL_10
D11088 | SDP_10
D11090 | AOUT.SH_10
D11091 | AOUT.SL_10
D11095 | OUTPUT.DOT_10
D11096 | long word
D11101 | PVIN_11
D11102 | PV_11
D11103 | CSP_11
D11104 | OUT_11
D11105 | EXPV_11
D11106 | RSP_11
D11107 | MOUT_11
D11108 | RUN.STS_11
D11109 | ALM.STS_11
D11110 | ERR.STS_11
D11111 | AT.STS_11
D11113 | BS_11
D11114 | FL_11
D11115 | X1_11
D11116 | Y1_11
D11117 | X2_11
D11118 | Y2_11
D11119 | X3_11
D11120 | Y3_11
D11121 | SC_11
D11123 | SPR.UP_11
D11124 | SPR.DN_11
D11125 | SPR.TM_11
D11126 | SP.TR_11
D11128 | ZONE_11
D11129 | 1RP_11
D11130 | 2RP_11
D11131 | RHY_11
D11132 | RDV_11
D11134 | CT
D11141 | Pb_11
D11142 | Ti_11
D11143 | Td_11
D11144 | OH_11
D11145 | OL_11
D11146 | MR_11
D11148 | DR_11
D11149 | POUT_11
D11181 | OT_11
D11182 | IN_11
D11183 | RH_11
D11184 | RL_11
D11185 | DEC.P_11
D11186 | SH_11
D11187 | SL_11
D11188 | SDP_11
D11190 | AOUT.SH_11
D11191 | AOUT.SL_11
D11195 | OUTPUT.DOT_11
D11196 | long word
D11201 | PVIN_12
D11202 | PV_12
D11203 | CSP_12
D11204 | OUT_12
D11205 | EXPV_12
D11206 | RSP_12
D11207 | MOUT_12
D11208 | RUN.STS_12
D11209 | ALM.STS_12
D11210 | ERR.STS_12
D11211 | AT.STS_12
D11213 | BS_12
D11214 | FL_12
D11215 | X1_12
D11216 | Y1_12
D11217 | X2_12
D11218 | Y2_12
D11219 | X3_12
D11220 | Y3_12
D11221 | SC_12
D11223 | SPR.UP_12
D11224 | SPR.DN_12
D11225 | SPR.TM_12
D11226 | SP.TR_12
D11228 | ZONE_12
D11229 | 1RP_12
D11230 | 2RP_12
D11231 | RHY_12
D11232 | RDV_12
D11234 | CT
D11241 | Pb_12
D11242 | Ti_12
D11243 | Td_12
D11244 | OH_12
D11245 | OL_12
D11246 | MR_12
D11248 | DR_12
D11249 | POUT_12
D11281 | OT_12
D11282 | IN_12
D11283 | RH_12
D11284 | RL_12
D11285 | DEC.P_12
D11286 | SH_12
D11287 | SL_12
D11288 | SDP_12
D11290 | AOUT.SH_12
D11291 | AOUT.SL_12
D11295 | OUTPUT.DOT_12
D11296 | long word